## Slide 1
Catalyst
Transparent conducting oxide (Counter Electrode)
Transparent substrate
Transparent substrate
Transparent conducting oxide (Working Electrode)
TIO2 nanoparticles coated with light absorbing dyes
Electrolyte

## Slide 2
TiO2
3I-
I3-
Working Electrode
Counter Electrode
DYE
LUMO
HOMO
e
e
e
e
e
e
e
e
e
e
e
e
e
e
e
Light (Natural / Artificial)
Electrolyte

## Slide 3
TiO2
3I-
I3-
Working Electrode
Counter Electrode
DYE
LUMO
HOMO
e
e
e
e
e
e
e
e
e
e
e
e
e
e
e
Light (Natural / Artificial)
Electrolyte

## Slide 4
3rd gen.
DSCs
1st generation PV
Mono-
crystalline
silicon
Multi-
crystalline
silicon
Cadmium
telluride
2nd generation PV
CIGS
Amorphous
silicon
Sensitivity to light
angle and condition
Low
High
High
Medium
Medium
Medium
World
record
efficiency
14.14%
(15%)
30.0%
18.0%
17.3%
20.3%
13.0%
Module
efficiency
10.3%
13.0-15.0%
13.5%
15.1%
5.0-7.0%
Sensitivity to
temperature
fluctuations
+ 0.1% / ᵒC
- 0.53% / ᵒC
- 0.44% / ᵒC
- 0.27% / ᵒC
- 0.42% / ᵒC
- 0.20% / ᵒC
Performance
High
13.0-15.0%
- 0.44% / ᵒC
- 0.27% / ᵒC
19.5%

## Slide 5
0.0A 0.0V
0.0A 0.0V
LED Lamps
White Light
Solar Cell
Heat-sink
Test Equipment
Brightness Control (Power Supply)
Enclosure
LUX Meter

## Slide 6
0.0A 0.0V
0.0A 0.0V
LED array
Adjustable intensity
DSC array
Test Equipment
PC Running LAB View to automate data collection

## Slide 7
a
b
f(x)
y
x
p1
p2
α
α
β
β
max
b
p1
p2
a
b
p2
p1
a
a
b
p2
p1
a
b
p2
p1

## Slide 8
a
b
p1
p2
max
b
p1
p2
a
b
p2
p1
a
a
b
p2
p1
a
b
p2
p1

## Slide 9
Dye-sensitized solar cells
Background and Problem Definition
Catalyst
Transparent conducting oxide (back contact)
Transparent substrate
Transparent substrate
Transparent conducting oxide (front contact)
TIO2 nanoparticles coated with light absorbing dyes
Electrolyte
Dye-sensitized solar cells (also known as Grätzel cells) ooriginated from research done by Professor Michael Grätzel in Switzerland in the early 1990s
Porous layer of interconnected TiO2 nanoparticles is electrically attached to a front contact
Light absorbing dye-molecules are coated onto the surface of the TiO2 particles
An electrolyte solution permeates the porous TiO2 and contacts the front- and back contact between the two sandwiched electrodes
Sunlight enters the cell through the transparent substrate, striking the dye on the surface of the TiO2
The dye-molecules absorb photons with enough energy and inject electrons into the TiO2 particles
The electrons diffuse through the TiO2 particle network and via an external circuit they reach the catalyst
The electrolyte solution captures the electrons at the catalyst and then transfers the electrons back to the dye molecules in order to complete the electrical circuit
Operation
3
Picture Source : i. Exeger